## Lighting BOQ
LIGHTING SCHEDULE
Plan: FLOOR_PLAN_03.png
Rooms: 5 | Area: 844 sqft | Scale: 20.00 px/ft
Item | Description | Qty | Unit | Wattage | Beam | Load (W) | Notes
1 | Recessed downlight — small | 22 | nos | 7 W | 36° | 154 | ambient grid, one per cell
2 | Recessed downlight — large | 4 | nos | 12 W | 60° | 48 | ambient grid, serves a pair of cells
3 | Directional spot | 3 | nos | 5 W | 30° | 15 | aimed at a task surface
4 | Wall sconce | 6 | nos | — | — | — | accent — wattage by fitting selection
5 | LED strip | 5.94 | m | 9.6 W/m | — | 57.1 | 2 runs · accent — concealed cove / under-cabinet tape
| Total fittings | 35 | nos |  |  | 274.1
| Total LED strip | 5.94 | m
| Load excludes | 6 × wall sconce |  |  |  |  | wattage not specified
| Connected load | 0.32 | W/sqft
CEILING ITEMS — coordination only, not billed
Item | Description | Qty | Unit
1 | Ceiling fan | 2 | nos
2 | Chandelier / pendant | 1 | nos
3 | AC ceiling unit | 1 | nos
4 | Trap door / access panel | 1 | nos
ROOM BREAKDOWN
Room | Area (sqft) | Small | Large | Spots | Sconces | Strip (m)
Living / dining | 410 | 9 | 3 | 2 | 0 | 3.66
Master bedroom | 168 | 4 | 1 | 1 | 2 | 2.29
Bedroom 2 | 140 | 4 | 0 | 0 | 2 | —
Kitchen | 84 | 4 | 0 | 0 | 0 | —
Toilet | 42 | 1 | 0 | 0 | 2 | —