## Schedule
LIGHTING SCHEDULE
Plan: FLOOR_PLAN_03.png
| Rooms | 5
| Area | 844
| Scale | 20
# | Description | Qty | Unit | Rating | Beam | Load | Notes
1 | Recessed downlight — small | 22 | nos | 7 | 36 | 154 | ambient grid, one per cell
2 | Recessed downlight — large | 4 | nos | 12 | 60 | 48 | ambient grid, serves a pair of cells
3 | Directional spot | 3 | nos | 5 | 30 | 15 | aimed at a task surface
4 | Wall sconce | 6 | nos | — | — |  | accent — wattage by fitting selection
5 | LED strip | 5.94 | m | 9.6 | — | 57.1 | 2 runs · accent — concealed cove / under-cabinet
| Total | 35 | nos |  |  | 274.1
| Total LED strip | 5.94
| Connected load | 0.32
| Load excludes | [5 empty] | 6 × wall sconce — wattage is set when the fitting is chosen
CEILING ITEMS
Coordination only — on the drawing because they occupy ceiling, and not billed.
# | Description | Qty | Unit
1 | Ceiling fan | 2 | nos
2 | Chandelier / pendant | 1 | nos
3 | AC ceiling unit | 1 | nos
4 | Trap door / access panel | 1 | nos

## By room
BY ROOM
How a site is wired and how a contractor prices it.
Room | Area | Small | Large | Spots | Sconces | Strip
Living / dining | 410 | 9 | 3 | 2 | 0 | 3.66
Master bedroom | 168 | 4 | 1 | 1 | 2 | 2.29
Bedroom 2 | 140 | 4 | 0 | 0 | 2 | 0
Kitchen | 84 | 4 | 0 | 0 | 0 | 0
Toilet | 42 | 1 | 0 | 0 | 2 | 0
Total | 844 | 22 | 4 | 3 | 6 | 5.94
Check | OK — matches the schedule